## Sheet1
ABSTRACT SHEET (CIVIL & PLUMBING) (As per KPWD SR Rates-2023-2024)
Sl No | SPECIFICATIONS | Qty | Units | Rate | AMOUNT
1 | 2 | 3 | 4 | 5 | 6
1 | Providing and laying in position Reinforced cement concrete for all Super structures of building , Road works, Water works, Irrigation works & super structure works of bridges upto 3.50 m height. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticisers laid in layers, well compacted using needle vibrators. The cost includes all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all other appurtenances required to complete the work as per technical specifications. (The cost of steel reinforcement, dowel bars & formwork to be paid separately)M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregates (P.15/2.2.3/V.1) REFER AMMENDUM-I Pg-111
I | COLUMN ( with area weightage 5%) | 18.4058 | CUM |  | 0
| Shuttering Qty | 18.4058 | SQM |  | 0
II | Sill ( with area weightage 5%) | 1.7582 | CUM |  | 0
| Shuttering Qty | 1.7582 | SQM |  | 0
II | LINTEL ( with area weightage 5%) | 2.3389 | CUM |  | 0 |  | #REF!
| Shuttering Qty. | 2.3389 | SQM |  | 0
III | SLAB ( with area weightage 5%) | 33.7688 | CUM |  | 0
| Shuttering qty | 33.7688 | SQM |  | 0
IV | BEAM ( with area weightage 5%) | 62.39 | CUM |  | 0
| Shuttering qty | 62.39 | SQM |  | 0
V | CHEJJA CONCRETE ( with area weightage 5%) | 1.0477 | CUM |  | 0 |  | 338
| Shuttering Qty. | 1.0477 | SQM |  | 0 |  | #REF!
VI | Backside Staircase ( with area weightage 5%) | 11.3266 | CUM |  | 0
| Shuttering Qty. | 11.3266 | SQM |  | 0
2 | Providing Thermo-Mechanically Treated bars of grade Fe-550D or more Steel reinforcement for R.C.C. work including straightening,cutting, bending, placing in position, binding and anchoring to adjacent members whereever necessary complete as per Design including cost of material, labour, usage charges complete as per specifications. (The laps and wastages shall not be measured separately) TMT bars Fe 500 (PWD CSR 2023-24,Vol-1,Pg.18/LT.NO.-2.11.a)
| Column | 4797 | Kg
| Sill | 103 | Kg
| Lintel | 181 | Kg
| Slab | 2812 | Kg
| Beam | 5081 | Kg
| Chajja | 145 | Kg
| Backside Staircase | 76 | Kg
a | Second Floor | 13195 | Kg. |  | 0 |  | 0
3 | Providing Brick work with common burnt clay Non Modular bricks of class designation 3.5 in superstructure above plinth level in all shapes and sizes in Cement mortar 1:6 (1 cement : 6 coarse sand) including cost of all materials, labour, scaffolding and usagecharges of machinery & other incidental charges complete as per the direction of engineer incharge of ork.(P.14/6.8/V.2) | [5 empty] | #REF!
a | Second Floor | 82.9675 | Cum |  | 0
4 | Providing 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix: 1:4 (1 cement: 4 fine sand) to brick masonry including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per pecifications and as per directions of Engineer-in-charge. (P.42/8.5.2/V.2) INTERNAL PLASTERING
a | Second Floor | 667.2713 | Sqm |  | 0
5 | Providing 18 mm cement plaster in two coats under layer 12 mm thick cement plaster with cement mortar 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster with cement mortar 1:6 (1 cement : 6 fine sand) to brick masonry including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge.(P.42/8.8/V.2) EXTERNAL PLASTERING
a | Second Floor | 513.6097 | Sqm |  | 0
6 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc.(P.85/11.34B/V.2)
a | Second Floor | 0 | Sqm |  |  | 39.5
|  | 21 | Kg/sqm
|  | 377 | Kg |  | 0
7 | Providing & fixing of 3-track x 2-panel sliding windows made out of multi chambered UPVC(Matching to RAL-9016) sections and with minimum TiO2(Titanium Dioxide) at 6PHR with TPE(Thermo Plastic Elastomer) and lead free, gaskets -grey colour having isolated drainage and reinforced with Galvanized Iron profile through-out the window frame.The outer frame having an overall size of 108mm width x 45mmheight with reinforcement of 1mm thickness and Sash with overall size of 39mm x 75mm with GI reinforcement of 2mm and mesh sash of size 37mm x 58mm. Coextruded Glazing bead for fixing of glass shall be of size 20mm x 24 mm. Windows shall be provided with 6mm plain float glass,standard hardware& Multi point locking system with touch lock. Wall thickness of frame & sash shall be of 2mm-2.5mm. Maximum possible size – 2419mm x 2200mm. (The cost is inclusive of all fixtures and separate charges for minor T&P's shall not be made) (P.112/12.90/V.2)
a | Second Floor | 36.0595 | Sqm |  | 0
8 | Providing and fixing flush door shutter made out of solid core block board type, well seasoned , chemicaly treated hard wood battens and internal frame with minimum 45 mm wide wooden frame alround door shutters covered with cross bonded wooden sheets (core veneer) hot pressed and fastened on both sides of the door useing liquid phenol formaldehyde resin as per IS specifications 2202 (part-I) 1991. from manufacturer complete as per spcification. (Vol II 2023-24,CL-12.57.7, Pg no-105)
| -do- 40 mm thick both side Teak | 21.4219 | Sqm |  | 0
9 | Providing M.S. Piano hinges ISI marked IS : 3818 finished with nickel plat ing and fixing with necessary screws etc., complete. (Vol II 2023-24,CL-12.71.3, Pg no-106)
| Nickel plated mild steel piano hinges 1 mm thick 65 mm wide | 24 | No |  | 0
10 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. For ED (Vol II 2023-24,CL-12.60, Pg no-105) | 1 | Nos |  | 0
11 | Providing and fixing door latch with necessary screws etc complete. Oxidised mild steel door latch For Bathrooms. (Vol II 2023-24,CL-12.80.2, Pg no-108) | 14 | Nos |  | 0
12 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete.[CSR 2023-24,Vol -2, Pg.No 105 It.No-12.58 | 4 | Nos |  | 0
13 | Providing and fixing aluminium tower bolts, ISI marked,anodised(anodic coating not less than gradeAC10 as perIS: 1868) transparent or dyed to required colouror shade,with necessary screwsetc. complete.[CSR2023-24,Vol-2, Pg.No 105 It.No-12.63 | 9 | Nos |  | 0
14 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in- charge. (Vol II 2023-24,CL-11.28, Pg no-85) | 200 | KG |  | 0
15 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade,over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand),jointing with grey cement slurry @ 3.3 kg/ m2 including grouting the joint with white cement & matching pigments etc. complete.Size of Tile 800x800 mm (P.61/9.17.3/V.2)
a | Second Floor | 433.9519 | Sqm |  | 0
16 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 600x600 mm | 433.9519 | Sqm |  | 0
17 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete as per specifications and as per directions ofEngineer in charge. (P.50/8.51/V.2)
Wall Putty
a | Second Floor | 667.2713 | Sqm |  | 0
18 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface :Water thinnable cement primer to give an even shade after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in- charge.(P.51/8.55.2/V.2) | 513.6097 | Sqm |  | 0
19 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two coats on new work after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge. (P.48/8.39/V.2)
a | Second Floor | 667.2713 | Sqm |  | 0
20 | Finishing walls with textured exterior paint of required shade :New work (Two coats applied @ 3.28 ltr/10 m²) over and including priming coat of exterior primer applied @ 2.20kg/10 m² to give an even shade after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge.(P.45/8.29/V.2)
a | Second Floor | 513.6097 | Sqm |  | 0
21 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two coats on new work after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-in-charge(P.48/8.40/V.2) GRILL WORKS
a | Second Floor | 32.342 | Sqm |  | 0
22 | Providing and fixing of Aluminium composite panel of approved make and colour for wall cladding for Brick/Rcc/stone walls & coloumns/beams with necessary aluminium frame works at required level made out of 50x25x4mm C section or equivalent. The panel should consist of 3mm thick non-halogenated FR grade mineral based polymer ( 2 hrs fire resistance as per ASTM E119-12 and clause B, S1, do as per ENT 13501-1sandwiched between 0.50 skins thick aluminium sheet making a total panel thickness of 4mm. The surfaces will be finished with PVDF based coating on topsides and service coating on reverse sides would be in polyester paint. The system shall be fixed using GI brackets, aluminium L cleats and stainless steel bolts and nuts complete with spring washer and cap nuts and all other necessary ccessories, sealing shall be done with necessary rods etc., complete (P.71/10.15.1/V.2) | 82.1091 | Sqm |  | 0
| Scaffolding for ACP work should be paid seperataly as actutal condiotion & as per directions of engineer incharges | 82.1091 | Sqm |  | 0
23 | Design supply & installation of suspended Spider Glazing system designed to withstand the wind pressure as per IS 875 (Part-III). The Suspended System held with Spider Fittings of SS-316 Grade Steel of approved manufacturer with glass panel having 12 mm thick clear toughened glass held together with SS- 316 Grade Stainless steel Spider & bolt assembly with laminated glass fins 21 mm thick. The Glass fins and glass panel assembly shall be connected to Slab/beams by means of SS- 316 Grade stainless steel brackets & Anchor bolts and at the bottom using SS channel of 50x25x2mm using fastener & anchor bolts, non staining weather sealants of approved make,Teflon/nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion & seismic movements etc. The joints between glass panels (6 to 8 mm) and gaps at the perimeter & in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof & dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel laminated glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured.(Vol-II, 2023-24 SR,P-184,11.18.7)GLAZING WORK | 66.566 | Sqm |  | 0
24 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap. (Vol II,23-24, CL-14.73, Pg no- 132) | 5 | Nos |  | 0
25 | Bottle trap 31mm single piece moulded with height of 270 mm, effective length of tail pipe 260 mm from the centre of the waste coupling, 77 mm breadth with 25 mm minimum water seal, weighing not less than 260 g. (Vol II, 23-24, CL-14.371, Pg no - 137) | 5 | Nos |  | 0
26 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes of 150mm dia conforming to IS: 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. (Vol II 2023-24, CL-13.49, Pgno- 125) | 85 | Rmt |  | 0
27 | Providing and fixing Pillar cock with high neck with 265mm Extended body made of Stainless steel with all concealed fitting arrangements & all necessary accesories complete. (Vol II 2023-24, CL-14.51, economy, Pg No-139) | 10 | Nos |  | 0
28 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. (Vol II 2023-24,CL-14.47, Pg no-138) | 5 | Nos |  | 0
29 | Providing and fixing Flush valve soft touch made of Stainless steel with all concealed fitting arrangements & all necessary accesories complete - Class Premium. (Vol II 2023-24,CL-14.94, Pg no-145) | 5 | Nos |  | 0
30 | Providing and fixing Toilet paper holder made of Stainless steel with all concealed fitting arrangements & all necessaryaccesories complete - Class Economy. (Vol II 2023-24,CL-14.95, Pg no-145) | 5 | Nos |  | 0
31 | Providing and fixing PTMT soap Dish Holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 g.(Vol II 2023-24,CL-13.26, Pg no-121) | 5 | Nos |  | 0
32 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 g. (Vol II 2023-24,CL-14.38, Pg no-137) | 5 | Nos |  | 0
33 | Providing and fixing Towel rail 450mm length made of Stainless steel with all concealed fitting arrangements & all necessary accesories complete - Class Economy. (Vol II 2023-24,CL-14.88, Pg no-144) | 5 | Nos |  | 0
34 | Providing and fixing Bidet spray made of Stainless steel with all concealed fitting arrangements & all necessary accesories complete - Class Premium. (Vol II 2023-24,CL-14.95, Pg no-145) | 5 | Nos |  | 0
35 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern. (Vol II 2023-24,CL-14.5.1, Pg no-132) | 3 | Nos |  | 0
36 | Providing and fixing PVC (S.W.R) Nahani Trap 10cms x 10cms with all fitting arrangements & all necessary accessories complete. (Vol II 2023-24,CL-13.59, Pg no-127) | 8 | Nos |  | 0
37 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia pipes. (Vol II 2023-24,CL-14.32.2, Pg no-122) | 6 | Nos |  | 0
38 | Providing and fixing Unplasticised Polyvinyl Chloride (uPVC) pipes, for cold water supply including all uPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step uPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal dia Pipes. (Vol II 2023-24,CL-13.50.5, Pg no-125) | 13 | m |  | 0
39 | Providing and laying water proofing treatment to the Rafts, Below grade slab, Lift pits, water retaining structures with fully bonded High Density Polyethlene Membrane (HDPE) of 1.2mm composite thickness and having tensile strength of >25 MPa (as per ASTM D 412), elongation of >500% (as per ASTM D 412), puncture resistance of >1000N (as per ASTM E 154), peel adhesion to concrete >1200N/m (as per ASTM D 903), hydrostatic head resistance >70m (as per ASTM D 5385). The system should be fully bonded to the RCC thereby conforming to IS 16471:2017 requirements of UG waterproofing structures. The membrane should be minimum 2.4m wide to reduce the number of joints with minimum 75mm factory made selvedge’s and comprising of an HDPE layer and a pressure sensitive adhesive layer which is covered by a weather proof protective and trafficable granular layer to protect self-adhesive polymer layer, etc, including surface preparation completely as per specification.
Water-Proofing (Vol II 2023-24,CL-15.5, Pg no-150)
| Second Floor | 247.5 | Sqm |  | 0
40 | Providing and Applying CFTRI approved two component flexible polymer modified acrylic cementitious waterproofing coating with a mix ratio of (5 Liquid :7 Powder) to the RCC surface like Roof, bathroom, toilet, balcony & utility area applied @ 2.2kg/m2 in 2 coats to achieve 1.2mm DFT, having Elongation at break >120% as per ASTM D 412, Tensile strength >1N mm2 as per ASTM D 412, Adhesion strength: 0.80N/mm2 as per ASTM D 4541, crack bridging upto 2mm as per ASTM C 836. The finished cost to include surface preparation, making coving of 50 mm X 50mm at all right angles of wall Junction with Polymer Repair Mortar and lay 45 gsm glass fibre mesh over the angle fillet when the first coat in still wet,treatment of cracks completely as per specification. (Vol II 2023-24,CL-15.11, Pg no-151) Terrace Water proofing | 338 | Sqm |  | 0
41 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials to the appropriate disposal and unserviceable material separately including cutting reinforcement bars. ( Vol-II, 2023-24 SR,P -193, I - 19.57) | 101.4638 | Cum |  | 0
42 | Dismentling of exiusting brick bat COBA (As per market Rate) | 310.8 | Sqm |  | 0
| Civil & Plumbing works TOTAL |  |  |  | 0