## TF
TERRACE FLOOR
Sl.No | Description of the item | Units | NO | Measurement (m) |  |  | QTY | BASIC RATE | AREA WEIGHTAGE | TOTAL AMOUNT
|  |  |  | L | B | D
1 | Providing and laying in position Reinforced cement concrete for all Foundation works. Thegranite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed with super plasticizers laid in finished layers, well compacted using needle vibrators, including all lead & lifts, cost of all materials, quality confirming to the requirements of relevant IS codes , labour, Usage charges of machinery, curing and all the other appurtenances required to complete the work as per technical specifications. (The cost of steel reinforcement & formwork to be paid separately) M25 Design Mix Using 20 mm nominal size graded crushed coarse aggregatesVolume-1 ITEM NO:2.2.1 Page no-15
RCC WORKS
| Columns | [5 empty] | 0
|  |  | 3 | 0.23 | 0.45 | 2.44 | 0.75762
|  |  | 1 | 0.23 | 0.6 | 2.44 | 0.33672
| Total C | Cum |  |  |  |  | 1.0943
Lintel
| Wall |  | 2 | 4.34 | 0.23 | 0.15 | 0.29946
|  |  | 2 | 4.79 | 0.23 | 0.15 | 0.33051
| Shear wall |  | 2 | 1.52 | 0.23 | 3.2 | 2.2374
|  |  | 2 | 1.57 | 0.23 | 3.2 | 2.311
| Total D | Cum |  |  |  |  | 5.1785
ROOF BEAM
| RB1 |  | 2 | 5.3 | 0.23 | 0.45 | 1.0971
| RB2 |  | 2 | 5.4 | 0.23 | 0.45 | 1.1178
| Total D | Cum |  |  |  |  | 2.2149
| Roof Slab |  | 1 | 5.3 | 5.4 | 0.15 | 4.293
| Total E | Cum |  |  |  |  | 4.293
2 | Steel Fabrication Supplying, fitting and placing TMT FE 550 / 550D Steel Reinforcement including cost of all materials, machinery, labour, cleaning, straightening, cutting, bending, hooking, laping/welding joints, tying with binding wire / soft annealed steel wire and other ancilary operations complete as per drawing and technical specification.a. Buildings Volume-1 ITEM NO:2.2.1 Page no-18
|  |  |  | Sqm | Sft | 4Kg per Sft
| Total built up area |  | 1 | 28.62 | 307.665 | 1230.66
| TOTAL | KG |  |  |  |  | 1230.66
|  | T |  |  |  |  | 1.2307
3 | Providing Brick work with common burnt clay Non Modular bricks of class designation 3.5 in foundation and plinth in Cement mortar 1:4 (1 cement : 4 coarse sand) including cost of all materials, labour, scaffolding and usage charges of machinery & other incidental charges complete as per the direction of engineer incharge of work.Volume-2 ITEM NO:6.2Page no-13
BBM WALL
| WALL |  | 2 | 5.3 | 0.23 | 2.44 | 5.9487
|  |  | 2 | 5.4 | 0.23 | 2.44 | 6.061
| PARAPET WALL |  | 1 | 44.71 | 0.23 | 1 | 10.2833
|  |  | 1 | 21.4 | 0.23 | 1 | 4.922
Deduction
| Door |  | 1 | 1.06 | 0.23 | 2.1 | -0.51198
| GW |  | 2 | 1.37 | 0.23 | 1.37 | -0.86337
| TOTAL | Cum |  |  |  |  | 25.8396
4 | Providing and fixing Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works i ITEM CODE-11.25.2 Page no-84 Vol-2
| MS Grills For Windows | [5 empty] | 0
| GW |  | 2 | 1.37 | 1.37 |  | 3.7538
| Sub Total | SQM |  |  |  |  | 3.7538
|  |  |  | Area | Weight per m2
| Total weight of MS Grills | Kgs | 1 | 3.7538 | 21 |  | 78.8298
5 | Providing & fixing of 3-track x 2-panel sliding windows made out of multi chambered UPVC(Matching to RAL-9016) sections and with minimum TiO2(Titanium Dioxide) at 6PHR with TPE(Thermo Plastic Elastomer) and lead free, gaskets -grey colour having isolated drainage and reinforced with Galvanized Iron profile through-out the window frame. The outer frame having an overall size of 108mm width x 45mmheight with reinforcement of 1mm thickness and Sash with overall size of 39mm x 75mm with GI reinforcement of 2mm and mesh sash of size 37mm x 58mm. Coextruded Glazing bead for fixing of glass shall be of size 20mm x 24 mm. Windows shall be provided with 6mm plain float glass, standard hardware& Multi point locking system with touch lock. Wall thickness of frame & sash shall be of 2mm-2.5mm. Maximum possible size – 2419mm x 2200mm. (Titem Code-12.90 page.no-110 Vol-2
| UPVC Windows | [5 empty] | 0
| GW |  | 1 | 1.37 |  | 1.37 | 1.8769
| TOTAL | Sqm |  |  |  |  | 1.8769
6 | Providing Honne wood frames of doors, windows, clerestory windows, ventilators and other frames, wrought, framed or assembled including making plaster groves (excluding cost of cement concrete and side clamps), but including cost of materials, labour, usage charges complete as per specifications. ITEM CODE-12.11 VOL-2 Page no-101
| DOORS |  | 1 | 0.075 | 0.1 | 6.94 | 0.05205
| TOTAL | CUM |  |  |  |  | 0.05205
7 | Providing Honne wood frames of doors, windows, clerestory windows, ventilators and other frames, wrought, framed or assembled including making plaster groves (excluding cost of cement concrete and side clamps), but including cost of materials, labour, usage charges complete as per specifications. ITEM CODE-12.11 VOL-2 Page no-101
| DOOR Shutters |  | 1 | 1.37 | 0.05 | 2.1 | 0.14385
| TOTAL | CUM |  |  |  |  | 0.14385
8 | Providing 15 mm cement plaster on the rough side of single or half brick wall of mix 1:4 (1 cement: 4 fine sand) including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost of materials, labour, curing complete as per specifications and as per directions of Engineer-in-charge.ITEM- 8.2.1,VOLUME -2 P.NO-41
| Internal Plastering | [5 empty] | 0
| WALL |  | 2 | 5.3 |  | 3.2 | 33.92
|  |  | 2 | 5.4 |  | 3.2 | 34.56
| TOTAL | Sqm |  |  |  |  | 68.48
9 | Providing 20 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) to brick/stone masonry including rounding off corners wherever required smooth rendering, providing and removing scaffolding, including cost ofmaterials, labour, curing complete as per specifications and as per direc tions of Engineer-in-charge.Page NO 41 Code:8.3.2Volume-2
External plastering
| Back side |  | 2 | 5.3 |  | 2.25 | 23.85
| Sides |  | 2 | 5.4 |  | 2.25 | 24.3
| TOTAL | SQM |  |  |  |  | 48.15
10 | Providing 6 mm cement plaster with cement mortar 1:3 (1 cement : 3 fine sand) on concrete surface / ceilings including rounding off corners wherever required smooth rendering, providi Volume-2 Item 8.10 Page no: 43
| Celing Plastering | [5 empty] | 0
| Head Room |  | 1 | 4.57 | 4.79 |  | 21.8903
| TOTAL | SQM |  |  |  |  | 21.8903
11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plasItem Code8.51vol-2 pageno-50
| internal Plastering QTY | [5 empty] | 68.48
| Ceiling QTY | [5 empty] | 21.8903
| External plastering | [5 empty] | 48.15
| Deduction wall cladding | [5 empty] | -33.64
| TOTAL | SQm |  |  |  |  | 104.8803
12 | Finishing with Deluxe Multi surface paint system for interiors and exteriors using Primer as per manufacturers specifications: Two coats applied on walls @ 1.25 L/10 m² over and including one coat of Special primer applied @ 0.75 L/10 m² with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour complete as per specifications and as per directions of Engineer-inpage no:46 Item Code 8.33.1 Volume -2
| internal Plastering QTY | [5 empty] | 68.48
| Ceiling QTY | [5 empty] | 21.8903
| TOTAL | Sqm |  |  |  |  | 90.3703
13 | Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 g/L and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives, New work (Two coats applied @ 1.43 L/ 10 m². Over and including priming coat of exterior primer applied @ 0.90 L/10 m² with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour page no:46 Item Code 8.32 Volume -2
| Qty carried from external plastering qty | [5 empty] | 48.15
| TOTAL | Sqm |  |  |  |  | 48.15
14 | polyurethane based single Component for New surfaceProviding and laying water proofing treatment to the Roof with PU based single component elastomeric pure polyurethane based coating on New terrace/Chajjas/Sunken portion of WC:Bathroom, cold applied PU waterproofing membrane that is highly elastic with elongation greater than 400% and tensile strength greater than 2MPa as per ASTM D412. The waterproofing membrane to be applied in 2coats @ 1.6 kg/m2 to achieve final DFT (Dry Film Thickness) of 1mm including prime coat of epoxy primer @150 g/m2 and protection with 120gsm Geo-textile over the waterproofing membrane. The finished cost to include surface preparation, making coving at Junction, Bore Packing, treatment of construction joints completely as per specification.Item No.15. 1PWD DSR Vol-2 2023-24page no:149
Terrace/ Raft & sunken slab waterproofing
| SF TERRACE |  | 1 |  |  |  | 151.6084
| OVER HEAD ROOM |  | 1 | 5.3 | 5.4 |  | 28.62
| TOTAL | Sqm |  |  |  |  | 180.2284
15 | Providing and fixing stainless steel Fixtures conforming to 304 graded steel as per direction of engineer in charge.Item No.22.15. 1PWD DSR Vol-2 2023-24page no:218
| HANDEL 200mm | no | 2 |  |  |  | 2
16 | Providing and fixing stainless steel Fixtures conforming to 304 graded steel as per direction of engineer in charge.Item No.22.15. 4 PWD DSR Vol-2 2023-24page no:218
| ALL DROP 200 mm | no | 1 | 300 | 6 |  | 1
17 | Providing and fixing stainless steel Fixtures conforming to 304 graded steel as per direction of engineer in charge.Item No.22.15. 5 PWD DSR Vol-2 2023-24page no:218
| Tower Bolt 250x10mm | no | 2 |  |  |  | 2
18 | Providing and fixing stainless steel Fixtures conforming to 304 graded steel as per direction of engineer in charge.Item No.22.15. 5 PWD DSR Vol-2 2023-24page no:218
| Hinges 100mm | no | 6 |  |  |  | 6
19 | Providing and fixing stainless steel Fixtures conforming to 304 graded steel as per direction of engineer in charge.Item No.22.15. 10 PWD DSR Vol-2 2023-24page no:218
| Door Stoper 75 mm | no | 1 |  |  |  | 1
20 | Providing and fixing stainless steel Fixtures conforming to 304 graded steel as per direction of engineer in chargeSl No.128 PWD DSR Vol-2 2023-24page no:A-20
| Door Lock | no | 1 |  |  |  | 1