## Sheet1
KARNATAKA STATE SOUHARDA FEDERAL CO-OPERATIVE LIMITED
Schedule B or Item of Works for 30 kw Solar Panel Work at KSSFCL Belagavi
Sl.No | Description /Item of Works | Quantity | Unit | Rate | Amount | Remarks
1 | Plant Capacity | 30 | kw
2 | Capacity of Solar Module make | 590 | wp
Make: Adani,WAAREE,VIKRAM
3 | Number of Modules | 50 | Numbers
4 | Capacity of Inverter
Make:DEYE/WAAREE
5 | Type Grid Tie
6 | Area required for SPV Power System | 3000 | Sq.ft
7 | Generation Units | 120 | Units per Day
8 | Power Factor | 0.85
9 | Average Monthly Energy/Power Generation | 3600 | Units Approximately
10 | Net Electrical Units generated per year | 43200 | Units
11 | Expected Life of the Project | 30 | Years
Total Amount of the Project based on above Parameters