## MAIN SUMMERY
BOQ FOR THE PROPOSED TURNKEY INTERIOR WORK OF KSSFCL DIVISIONAL OFFICEBUILDING AT 1119/B,AUTONAGAR INDUSTRIAL AREA KANABARGI,BELAGAVI.
MAIN SUMMARY SHEET
SL NO | DESCRIPTION | SUB TOTAL
1 | INTERIOR & FURNISHING WORK
Add : CSGT @ 9%
SSGT @ 9%
Ro ( + )
TOTAL
2 | ELECTRICAL WORK
Add : CSGT @ 9%
SSGT @ 9%
Ro ( + )
TOTAL
3 | AIR - CONDITIONING WORK
a | Equipments Supply
Add : CSGT @ 14%
SSGT @ 14%
Ro ( + )
TOTAL
b | Equipments Installation + Ancillary Work
Add : CSGT @ 9%
SSGT @ 9%
Ro ( + )
TOTAL
4 | AV SYSTEM
Add : CSGT @ 9%
SSGT @ 9%
Ro ( + )
TOTAL
GRAND TOTAL

## SUMMERY
BOQ FOR THE PROPOSED TURNKEY INTERIOR WORK OF KSSFCL DIVISIONAL OFFICEBUILDING AT 1119/B,AUTONAGAR INDUSTRIAL AREA KANABARGI,BELAGAVI.
No. | Description | Amount
BASEMENT FLOOR TOTAL
GROUND FLOOR TOTAL
FIRST FLOOR TOTAL
INTERIOR TOTAL Rs.-

## BASEMENT FLOOR
BOQ FOR THE PROPOSED TURNKEY INTERIOR WORK OF KSSFCL DIVISIONAL OFFICEBUILDING AT 1119/B,AUTONAGAR INDUSTRIAL AREA KANABARGI,BELAGAVI.
No. | Description | Qty. | Rate | Per | Amount | Total Amount
BASEMENT FLOOR
A] | TRAINING HALL,SERVER ROOM
1 | Flush Door With Vascal Frame | 146 |  | Sq.Ft.. |  | 0
Fabricating & Fixing of Waterproof Flush Door 30mm thick to shape and size as per the drawings. The Door is mounted on the Fabricated Vascal frame of given size using 3 1/2" X 2 1/2" seasoned sal wood for the vascal frame work, 12mm X 32mm step cutting for shutter to be provided to fix the fabricated shutter, the fabricated vascal to be fitted to the partition / wall as required The shutters shall then be finished on both sides with approved shade of 1.00mm thick laminate with grooves to pattern with 1/2" Teak wood lipping on all four side of the shutter edge. This also includes providing and fixing in position necessary Stainless Steel brush finished hardware like Tower bolt, 5" hinges - 4 Nos,edge protector ,SS Handles , Cylindrical locks, Door Closer,Door Stopper, Back Nylon Bush etc. The required Glass view panel to be cut and fitted with 6mm Toughned Clear Glass with required Teak Wood Beeding.
2 | GYPSUM FALSE CEILING | 500 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | MODULAR FALSE CEILING | 1200 |  | Sq.Ft. |  | 0
Grid False Ceiling : Providing and errecting 2'0" X 2' 0" Suspended Grid Pre PC channel, fitted with trigular edge mineral wool of make Armstrong false ceiling tile.
4 | STAGE | 160 |  | Sq.Ft. |  | 0
Fabricating & Fixing raised platform with MS fabricated frame work using 30mm X 30mm MS square tube for vertical raiser of 1'0" height, top platform with length and depth square tube with distance not more than 2'6" X 2'6" C/C both ways with complete joinary welding, trimming and buffing to a neat surface finish. The MS frame work painted with 2 coats of metal primer, and finished with grey enamel paint. The entire top platform and the front vertical to be cladded with 19mm MR Ply using self tapping high tencil concield screws. The vertical front finished with 1.00mm laminate of the approved shade & design, the top platform surface laid with 2mm synthetic ribbed carpet with SR Adhesive complete end to end. PC aluminium corner profile to be provided for the vertical and horizontal joints for the entire length. Size: 20'0"x8'0"x1'0"
5 | WALL PANELLING | 160 |  | Sq.Ft.. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
6 | PODIUM | 1 |  | No |  | 0
Providing and Suppliying Podium as per the approved design & pattern using 18mm,12mm MR ply with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & finishing.
7 | ACCOUSTICAL WALL PANELLING | 480 |  | Sq.Ft.. |  | 0
Fabricating & Fixing of Accoustic wall panelling using 2" X 1" Sal wood frame work with 2'0" X 2'0" C/C fixed to wall end to end to plumb line using anchor screws, expansion PVC Plug etc. 50mm X 24KG / M3 Density Glass Wool/Rock wool cladded to the wooden frame work without any gap alround. Black cora cloth to be fixed covering the entire glass wool panelling area with required hardwares. Fabricating & Fixing of Laminated Panelling above the Accoustic Glass wool insulation upto 3'0" from FFL using 12mm MR Ply from flooring to 4'0" height, cladded with 1.00mm laminate of the approved shade & design using Fevicol SH Adhesive and Hardwares as required. Fabricating & Fixing of Accoustic Board Panelling above the laminated panel upto false ceiling height on the glass wool insulated panel using 2'0" X 2'0" or 4'0" X 2'0" Polyster Board of thickness 12mm with required hardwares to the drawing & pattern.
8 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Training Centre Chair with writing Pad, File Shelf : | 90 |  | No
b | Green Room - 2 Seater and 1 seater Sofa with full arm rest : Providing & Supply of Reception Sofa made out of silver wood and commercial ply for the base structure, spiral spring, fabric tape for seat and back mounted with 4" and 3" moulded foam to the shape of 40 density, upholstred with feather touch rexin / fabric as the approval. The sofa mounted on 3" X 3" Teak wood legs with polish and fitted with nylon bushes. ( The Basic rate of fabric / feather touch rexin - Rs. 500 / mtr ) | 1 |  | Set
c | Side Table & Center Table : Providing & supplying Sise & Center Table of the given size using 30mm MR Ply with 1.00mm laminate for all the surfaces and edge lipping. Mounted with SS Legs, 12mm Toughned Tinted glass top with vacum bush etc complete. Size : 1'6" X 1'6" X 1'6" | 2 |  | No
9 | FILE COMPACTOR | 1 |  | LS |  | 0
Providing and Irrecting File Compactor(3 Bay mobile storage system),Single Faced Fixed unit - 1No, Double Faced Mobile unit - 8Nos, Single Faced Mobile unit - 1No, Rail Track etc complete. The compactor shall be moved by mechanical means using chain drive & Hand Wheel to ensure smooth movement. The entire mechanical gear and sprockets shall be incorporated with in the front panel provide in the front of the unit with in an area of 1000mm X 20mm X 50mm, the box type cover made of 20SWG CRCA prime quality steel. The base frame will be fabricated in channel type from 3mm Thk MS sheet a guide rail will be of 25mm round MS bright bar. shelves will be of 1mm CRCA quality steel having 8 folded. The system will be provided with centralised locking arrangements. All the items will be duely powder coated of approved colour. Room Size : 31'6" X 13'0" X 8'0"
10 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 10000 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 500 |  | Sq.Ft.. |  | 0
11 | FURNISHING ITEMS |  |  |  |  | 0
a | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 40 |  | Sq.Ft.
b | WRITING BOARD :- Providing, Supply & Fixing of ceramic steel writing board mountd with ply backing, alround framing with Powder coated aluminium profile. The back mounted with GI Sheet. The board mounted with wall fixing bracket. | 40 |  | Sq.Ft.
c | ENTRANCE FOOT MATT :- Providing, Supply & Laying of Vinyl Foot Matt at the glass door entrance . | 30 |  | Sq.Ft.
| BASEMRNT FLOOR TOTAL Rs.- |  |  |  |  | 0

## GROUND FLOOR
BOQ FOR THE PROPOSED TURNKEY INTERIOR WORK OF KSSFCL DIVISIONAL OFFICEBUILDING AT 1119/B,AUTONAGAR INDUSTRIAL AREA KANABARGI,BELAGAVI.
No. | Description | Qty. | Rate | Per | Amount | Total Amount
GROUND FLOOR
A] | RECEPTION & WAITING AREA
1 | GLASS PARTITION WITH DOOR | 97 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 400 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | WOODEN FALSE CEILING | 100 |  | Sq.Ft. |  | 0
Providing and fixing Wooden False ceiling using 18mm MR Ply,12mm & 6mm ply finished with 1mm Decorative laminate. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.as per design
4 | RECEPTION TABLE | 20 |  | Sq.Ft. |  | 0
Providing & fixing Reception table,cupboards made in 18mm MR Ply,12mm & 6mm ply, Glass with 1mm Veneer finish Laminate having drawers & cupboards with all necessary fitting and fixtures etc. Size: 8'0"x2'6"x4'0"
5 | SIDE & BACK RUNNER | 30 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size: 12'0"x1'3"x2'6"
6 | WALL PANELLING | 70 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
7 | CHAIRS AND SOFA |  |  |  |  | 0
a | Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
b | Medium Back Rev & Til Chair with PU arm rest | 2 |  | No
c | 3 Seater Sofa with full arm rest : Providing & Supply of Reception Sofa made out of silver wood and commercial ply for the base structure, spiral spring, fabric tape for seat and back mounted with 4" and 3" moulded foam to the shape of 40 density, upholstred with feather touch rexin / fabric as the approval. The sofa mounted on 3" X 3" Teak wood legs with polish and fitted with nylon bushes. ( The Basic rate of fabric / feather touch rexin - Rs. 500 / mtr ) | 1 |  | Set
d | Side Table & Center Table : Providing & supplying Sise & Center Table of the given size using 30mm MR Ply with 1.00mm laminate for all the surfaces and edge lipping. Mounted with SS Legs, 12mm Toughned Tinted glass top with vacum bush etc complete. Size : 1'6" X 1'6" X 1'6" | 2 |  | No
8 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 2000 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 200 |  | Sq.Ft.. |  | 0
9 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 36 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 6 |  | Sq.Ft.
c | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 30 |  | Sq.Ft.
d | ENTRANCE FOOT MATT :- Providing, Supply & Laying of Vinyl Foot Matt at the glass door entrance . | 18 |  | Sq.Ft.
e | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 12 |  | Sq.Ft.
f | FRAMES & PLANTERS:- Providing & supplying Picture Frames & Decorative plants as per Architects approval on site. | 5 |  | Sq.Ft.
| RECEPTION & WAITING AREA TOTAL Rs.- |  |  |  |  | 0
B] | DISCUSSION ROOM
1 | GLASS PARTITION WITH DOOR | 360 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 135 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | DISCUSSION TABLE | 1 |  | No |  | 0
Discussion / Meetig Room Table : Providing & supply of Discussion table made out of 18mm MR Ply, 1.00 mm SF laminate for the top & the base construction. The Table top reinforced with additional 18mm ply alround. 2.00mm PVC Edge banding of 40mm width provided with complete joinary & finishing. Ebco / Hettich furnitures fittings. The Table includes CT cap etc complete. Size : 4'0" Dia
4 | BACK RUNNER | 26.25 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size: 10'6"x1'3"x2'6"
5 | CHAIRS AND SOFA |  |  |  |  | 0
a | Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
| Visitors Chairs With PU arm rest | 6 |  | No
6 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 200 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 0 |  | Sq.Ft.. |  | 0
7 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 120 |  | Sq.Ft.
g | FRAMES & PLANTERS:- Providing & supplying Picture Frames & Decorative plants as per Architects approval on site. | 4 |  | No
| DISCUSSION ROOM TOTAL Rs.- |  |  |  |  | 0
C] | DIVISION OFFICER CABIN
1 | GLASS PARTITION WITH DOOR | 235 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 120 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | WOODEN FALSE CEILING | 30 |  | Sq.Ft. |  | 0
Providing and fixing Wooden False ceiling using 18mm MR Ply,12mm & 6mm ply finished with 1mm Decorative laminate. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.as per design
4 | EXECUTIVE TABLE | 21 |  | Sq.Ft. |  | 0
Providing & fixing Executive Table made in 18mm MR Ply,12mm & 6mm ply with 1mm laminate,Veneer finish & Glass Top having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing. Size :- 7'0"X3'0"X2'6"
5 | SIDE & BACK RUNNER | 26.25 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size :- 10'6"X1'3"X2'6"
6 | WALL PANELLING | 120 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
7 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Til Chair with PU arm rest | 1 |  | No
b | Visitors Chairs With PU arm rest | 3 |  | No
c | 2 Seater Sofa with full arm rest : Providing & Supply of Reception Sofa made out of silver wood and commercial ply for the base structure, spiral spring, fabric tape for seat and back mounted with 4" and 3" moulded foam to the shape of 40 density, upholstred with feather touch rexin / fabric as the approval. The sofa mounted on 3" X 3" Teak wood legs with polish and fitted with nylon bushes. ( The Basic rate of fabric / feather touch rexin - Rs. 500 / mtr ) | 1 |  | Set
8 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 500 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 50 |  | Sq.Ft.. |  | 0
9 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 100 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 6 |  | Sq.Ft.
c | WRITING BOARD :- Providing, Supply & Fixing of ceramic steel writing board mountd with ply backing, alround framing with Powder coated aluminium profile. The back mounted with GI Sheet. The board mounted with wall fixing bracket. | 6 |  | Sq.Ft.
d | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 30 |  | Sq.Ft.
e | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 3 |  | Sq.Ft.
| DIVISION OFFICER CABIN TOTAL Rs.- |  |  |  |  | 0
D] | LEGAL OFFICER CABIN
1 | GLASS PARTITION WITH DOOR | 380 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 180 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | EXECUTIVE TABLE | 20 |  | Sq.Ft. |  | 0
Providing & fixing President Working Table made in 18mm MR Ply,12mm & 6mm ply with laminate,Glass Top having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing. Size :- 5'0"X2'0"X2'6"x 02 nos
4 | SIDE & BACK RUNNER | 40 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size :- 8'0"X1'3"X2'6"x 02 nos
5 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Til Chair with PU arm rest | 2 |  | No
b | Visitors Chairs With PU arm rest | 6 |  | No
6 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 500 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 50 |  | Sq.Ft.. |  | 0
7 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 152 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 12 |  | Sq.Ft.
c | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 45 |  | Sq.Ft.
| LEGAL OFFICER CABIN TOTAL Rs.- |  |  |  |  | 0
E] | WORKSTATIONS
1 | GYPSUM FALSE CEILING | 350 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
2 | MODULAR FALSE CEILING | 560 |  | Sq.Ft. |  | 0
Grid False Ceiling : Providing and errecting 2'0" X 2' 0" Suspended Grid Pre PC channel, fitted with trigular edge mineral wool of make Armstrong false ceiling tile.
3 | MODULAR WORKSTATIONS |  |  |  |  | 0
Providing, supply & fixing of 75mm modular workstation partiton with Powder Coated CR Metal frame work with Bottom 8mm exterior MDF with 1.00mm laminateon both sides. 1 No 12 mm soft board with fabric finish of the approved colour & shade, 1 No Writing board panel above the table top on the inner surface and fabric finish tiles on the outer surfaces. workstation Shall have 2 nos Powder Coated CR Sheet raceways for power and networking.The Work Station Top and vertical Gable end using 25mm HDHMR MDF / MR Ply to be used. All the exposed edges of the table top and Gable end to be lipped with 2.00mm PVC Edge banding. The workstation include CT terminal cap. The Work Station partition top and vertical exposed edges are fitted with Powder Coated aluminium profile trim to suit the partition.
a | Cluster of 15 Modular Workstation Size 4'3" X 5'0" X 4'0" : | 15 |  | No
b | Additional Modular Partition Only |  |  | Sq.Ft.
c | Fixed 3 Drawer Pedestral : Fabricating, Supply & Fixing 3 Drawer Pedestral for each workstation made out of 18mm HDHMR MDF / MR Ply for the cabinet, 1.00 mm laminate for the outer surface and balancing white laminate for the inner surface including drawer and drawer facia to be provided as aper approval. 16mm both side laminated drawer verticals, 8mm both side laminated exterior MDF / MR Ply for the drawer bottom, 2.00 mm PVC Edge band for all the exposed edges to be provided. Channel lock for the 3 Drawers combined, SS ' C ' handles for each drawewrs, Nylon leveller bush for the floor mounting to be provided complete. | 15 |  | No
4 | LOW Ht. STORAGE | 144 |  | Sq.Ft. |  | 0
Fab & fix 4'0" HT storage as per the plan using 18mm MR Ply,12mm & 6mm ply, 1.00 laminate, auto hinged openable shutters with lock & fittings all the inner surfaces with 0.8mm laminate, exposed edges with 2mm PVC Beeding. The cabinet includes 2 mid shelf mounted on SS Bracket
5 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Til Chair with PU arm rest | 15 |  | No
6 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 1400 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 0 |  | Sq.Ft.. |  | 0
7 | FURNISHING ITEMS |  |  |  |  | 0
a | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 40 |  | Sq.Ft.
| WORKSTATION AREA TOTAL Rs.- |  |  |  |  | 0
F] | BOARD ROOM
1 | GLASS PARTITION WITH DOOR | 482.5 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 400 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | WOODEN FALSE CEILING | 200 |  | Sq.Ft. |  | 0
Providing and fixing Wooden False ceiling using 18mm MR Ply,12mm & 6mm ply finished with 1mm Decorative laminate. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.as per design
4 | WOODEN FLOORING | 600 |  | Sq.Ft. |  | 0
Providing and fixing Laminated Wooden Flooring of appoved make with necessory base preparation and accessories finishing and cleaning etc.complete
5 | WALL PANELLING | 120 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
6 | CONFERENCE TABLE | 43.5 |  | Rft |  | 0
Providing & fixing Conference Table made in 18mm MR Ply,12mm & 6mm ply, with laminate,Veneer finish & Glass Top with all necessary fitting and fixtures etc. complete as per drawing. Size :- 43'6"X2'0"X2'6"
7 | BACK RUNNER | 46.25 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size :- 18'6"X1'3"X2'6"
8 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | High Back Chair Rev & Til Chair with PU arm rest | 16 |  | No
b | Medium Back Rev & Til Chair with PU arm rest | 16 |  | No
9 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 2000 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 200 |  | Sq.Ft.. |  | 0
10 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 192 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 12 |  | Sq.Ft.
c | WRITING BOARD :- Providing, Supply & Fixing of ceramic steel writing board mountd with ply backing, alround framing with Powder coated aluminium profile. The back mounted with GI Sheet. The board mounted with wall fixing bracket. | 40 |  | Sq.Ft.
d | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 105 |  | Sq.Ft.
e | ENTRANCE FOOT MATT :- Providing, Supply & Laying of Vinyl Foot Matt at the glass door entrance . | 6 |  | Sq.Ft.
| CONFERENCE ROOM TOTAL Rs.- |  |  |  |  | 0
G] | ANTI CHAMBER
1 | GYPSUM FALSE CEILING | 150 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
2 | WOODEN FALSE CEILING | 30 |  | Sq.Ft. |  | 0
Providing and fixing Wooden False ceiling using 18mm MR Ply,12mm & 6mm ply finished with 1mm Decorative laminate. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.as per design
3 | WALL PANELLING | 196 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
4 | TV UNIT | 42 |  | Sqft. |  | 0
Providing and fixing TV Unit as per the approved design & pattern using 18mm MR Ply,12mm & 6mm ply with 1.00mm laminate of the approved shade & design using Fevicol SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish. Size :- 6'0"X7'0"
5 | WOODEN FLOORING | 180 |  | Sq.Ft. |  | 0
Providing and fixing Laminated Wooden Flooring of appoved make with necessory base preparation and accessories finishing and cleaning etc.complete
6 | CHAIRS AND SOFA |  |  |  |  | 0
a | 3+2+1 Seater Sofa with full arm rest : Providing & Supply of Reception Sofa made out of silver wood and commercial ply for the base structure, spiral spring, fabric tape for seat and back mounted with 4" and 3" moulded foam to the shape of 40 density, upholstred with feather touch rexin / fabric as the approval. The sofa mounted decorative metal legs fitted with nylon bushes. ( The Basic rate of fabric / feather touch rexin - Rs. 500 / mtr ) | 1 |  | Set
b | Side Table & Center Table : Providing & supplying Sise & Center Table of the given size using 30mm MR Ply with 1.00mm laminate for all the surfaces and edge lipping. Mounted with SS Legs, 12mm Toughned Tinted glass top with vacum bush etc complete. Size : 1'6" X 1'6" X 1'6" | 3 |  | No
7 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 750 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 50 |  | Sq.Ft.. |  | 0
8 | FURNISHING ITEMS |  |  |  |  | 0
a | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 55 |  | Sq.Ft.
b | ENTRANCE FOOT MATT :- Providing, Supply & Laying of Vinyl Foot Matt at the glass door entrance . | 6 |  | Sq.Ft.
c | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 3 |  | Sq.Ft.
d | FRAMES & PLANTERS:- Providing & supplying Picture Frames & Decorative plants as per Architects approval on site. | 5 |  | No
| CONFERENCE ROOM TOTAL Rs.- |  |  |  |  | 0
| GROUND FLOOR TOTAL Rs.- |  |  |  |  | 0

## FIRST FLOOR
BOQ FOR THE PROPOSED TURNKEY INTERIOR WORK OF KSSFCL DIVISIONAL OFFICEBUILDING AT 1119/B,AUTONAGAR INDUSTRIAL AREA KANABARGI,BELAGAVI.
No. | Description | Qty. | Rate | Per | Amount | Total Amount
FIRST FLOOR
A] | RECEPTION & WAITING AREA
1 | GYPSUM FALSE CEILING | 650 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
2 | WOODEN FALSE CEILING | 200 |  | Sq.Ft. |  | 0
Providing and fixing Wooden False ceiling using 18mm MR Ply,12mm & 6mm ply finished with 1mm Decorative laminate. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.as per design
3 | RECEPTION TABLE | 15 |  | Sq.Ft. |  | 0
Providing & fixing Reception table,cupboards made in 18mm MR Ply,12mm & 6mm ply, Glass with 1mm Veneer finish Laminate having drawers & cupboards with all necessary fitting and fixtures etc. Size :- 6'0"X2'6"X4'0"
4 | SIDE & BACK RUNNER | 8.75 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size :- 3'6"X1'3"X2'6"
5 | WALL PANELLING | 70 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
6 | FULL Ht. STORAGE IN PASSAGE | 245 |  | Sq.Ft. |  | 0
Fab & fix 7'0" HT storage as per the plan using 18mm MR Ply,12mm & 6mm ply, 1.00 laminate, auto hinged openable shutters with lock & fittings all the inner surfaces with 0.8mm laminate, exposed edges with 2mm PVC Beeding. The cabinet includes 2 mid shelf mounted on SS Bracket Size :- 19'0"X1'3"X7'0",16'0"x1'3"x7'0"
7 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Til Chair with PU arm rest | 1 |  | No
b | 2 Seater X 03 Sofa with full arm rest : Providing & Supply of Reception Sofa made out of silver wood and commercial ply for the base structure, spiral spring, fabric tape for seat and back mounted with 4" and 3" moulded foam to the shape of 40 density, upholstred with feather touch rexin / fabric as the approval. The sofa mounted on 3" X 3" Teak wood legs with polish and fitted with nylon bushes. ( The Basic rate of fabric / feather touch rexin - Rs. 500 / mtr ) | 1 |  | Set
c | 3 - Seater Tandum Seating : Providing & Supply of 3 seater Tandum seating with imported alloy cast iron base structure with perforated seat and back, fitted with 12mm bend ply with 2" moulded rubber foam seat and back, upholstred with feather touch rexin. The fixing of seat and back should be ' T ' Nut fixing. The base legs fitted with leveller bush. ( The base structure without upholstry weight 32kgs / set ) | 2 |  | No
| Side Table & Center Table : Providing & supplying Sise & Center Table of the given size using 30mm MR Ply with 1.00mm laminate for all the surfaces and edge lipping. Mounted with SS Legs, 12mm Toughned Tinted glass top with vacum bush etc complete. Size : 1'6" X 1'6" X 1'6" | 5 |  | No
8 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 1600 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 100 |  | Sq.Ft.. |  | 0
9 | FURNISHING ITEMS |  |  |  |  | 0
a | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 12 |  | Sq.Ft.
b | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 60 |  | Sq.Ft.
c | ENTRANCE FOOT MATT :- Providing, Supply & Laying of Vinyl Foot Matt at the glass door entrance . | 10 |  | Sq.Ft.
d | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 4.5 |  | Sq.Ft.
e | FRAMES & PLANTERS:- Providing & supplying Picture Frames & Decorative plants as per Architects approval on site. | 6 |  | No
| RECEPTION & WAITING AREA TOTAL Rs.- |  |  |  |  | 0
B] | TASK FORCE OFFICER CABIN
1 | GLASS PARTITION WITH DOOR | 125 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 130 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | WOODEN FALSE CEILING | 30 |  | Sq.Ft. |  | 0
Providing and fixing Wooden False ceiling using 18mm MR Ply,12mm & 6mm ply finished with 1mm Decorative laminate. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.as per design
4 | EXECUTIVE TABLE | 21 |  | Sq.Ft. |  | 0
Providing & fixing Executive table,made in 18mm MR Ply,12mm & 6mm ply, Glass with 1mm Veneer finish Laminate for outer side and 0.8 mm for inner side having drawers & cupboards with all necessary fitting and fixtures etc. Size: 7'0"x3'0"x2'6"
5 | SIDE & BACK RUNNER | 25 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size :- 10'0"X1'3"X2'6"
6 | WALL PANELLING | 100 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
7 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Tilt Chair with PU arm rest | 1 |  | No
b | Visitors Chairs With PU arm rest | 3 |  | No
c | 2 Seater Sofa with full arm rest : Providing & Supply of Reception Sofa made out of silver wood and commercial ply for the base structure, spiral spring, fabric tape for seat and back mounted with 4" and 3" moulded foam to the shape of 40 density, upholstred with feather touch rexin / fabric as the approval. The sofa mounted on 3" X 3" Teak wood legs with polish and fitted with nylon bushes. ( The Basic rate of fabric / feather touch rexin - Rs. 500 / mtr ) | 1 |  | Set
8 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 400 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 50 |  | Sq.Ft.. |  | 0
9 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 50 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 12 |  | Sq.Ft.
c | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 100 |  | Sq.Ft.
d | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 3 |  | Sq.Ft.
| TASK FORCE OFFICER CABIN TOTAL Rs.- |  |  |  |  | 0
C] | COURT OFFICER CABIN
1 | GLASS PARTITION WITH DOOR | 110 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 100 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | MODULAR FALSE CEILING | 100 |  | Sq.Ft. |  | 0
Grid False Ceiling : Providing and errecting 2'0" X 2' 0" Suspended Grid Pre PC channel, fitted with trigular edge mineral wool of make Armstrong false ceiling tile.
4 | EXECUTIVE TABLE | 7 |  | Rft |  | 0
Providing & fixing Executive table,made in 18mm MR Ply,12mm & 6mm ply, Glass with 1mm Veneer finish Laminate having drawers & cupboards with all necessary fitting and fixtures etc. Size: 7'0"x3'0"x2'6"
5 | SIDE & BACK RUNNER | 26.25 |  | Sqft. |  | 0
Providing & fixing side runner made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size :- 10'6"X1'3"X2'6"
6 | WALL PANELLING | 100 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
7 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Til Chair with PU arm rest | 1 |  | No
b | Visitors Chairs With PU arm rest | 3 |  | No
C] | 2 Seater Sofa with full arm rest : Providing & Supply of Reception Sofa made out of silver wood and commercial ply for the base structure, spiral spring, fabric tape for seat and back mounted with 4" and 3" moulded foam to the shape of 40 density, upholstred with feather touch rexin / fabric as the approval. The sofa mounted on 3" X 3" Teak wood legs with polish and fitted with nylon bushes. ( The Basic rate of fabric / feather touch rexin - Rs. 500 / mtr ) | 1 |  | Set
8 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 500 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 0 |  | Sq.Ft.. |  | 0
9 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 45 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 12 |  | Sq.Ft.
d | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 30 |  | Sq.Ft.
f | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 3 |  | Sq.Ft.
| COURT OFFICER CABIN TOTAL Rs.- |  |  |  |  | 0
E] | WORKSTATIONS
1 | GLASS PARTITION WITH DOOR | 590 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 100 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | MODULAR FALSE CEILING | 360 |  | Sq.Ft. |  | 0
Grid False Ceiling : Providing and errecting 2'0" X 2' 0" Suspended Grid Pre PC channel, fitted with trigular edge mineral wool of make Armstrong false ceiling tile.
4 | MODULAR WORKSTATIONS |  |  |  |  | 0
Providing, supply & fixing of 75mm modular workstation partiton with Powder Coated CR Metal frame work with Bottom 8mm exterior MDF with 1.00mm laminateon both sides. 1 No 12 mm soft board with fabric finish of the approved colour & shade, 1 No Writing board panel above the table top on the inner surface and fabric finish tiles on the outer surfaces. workstation Shall have 2 nos Powder Coated CR Sheet raceways for power and networking.The Work Station Top and vertical Gable end using 25mm HDHMR MDF / MR Ply to be used. All the exposed edges of the table top and Gable end to be lipped with 2.00mm PVC Edge banding. The workstation include CT terminal cap. The Work Station partition top and vertical exposed edges are fitted with Powder Coated aluminium profile trim to suit the partition.
| Cluster of 10 Modular Workstation Size 4'3" X 5'0" X 4'0" : | 10 |  | No
| Additional Modular Partition Only |  |  | No
| Fixed 3 Drawer Pedestral : Fabricating, Supply & Fixing 3 Drawer Pedestral for each workstation made out of 18mm HDHMR MDF / MR Ply for the cabinet, 1.00 mm laminate for the outer surface and balancing white laminate for the inner surface including drawer and drawer facia to be provided as aper approval. 16mm both side laminated drawer verticals, 8mm both side laminated exterior MDF / MR Ply for the drawer bottom, 2.00 mm PVC Edge band for all the exposed edges to be provided. Channel lock for the 3 Drawers combined, SS ' C ' handles for each drawewrs, Nylon leveller bush for the floor mounting to be provided complete. | 10 |  | No
5 | FULL Ht. STORAGE | 91 |  | Sq.Ft. |  | 0
Fab & fix 7'0" HT storage as per the plan using 18mm MR Ply,12mm & 6mm ply, 1.00 laminate, auto hinged openable shutters with lock & fittings all the inner surfaces with 0.8mm laminate, exposed edges with 2mm PVC Beeding. The cabinet includes 2 mid shelf mounted on SS Bracket
6 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Til Chair with PU arm rest | 10 |  | No
7 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 1000 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 0 |  | Sq.Ft.. |  | 0
8 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 240 |  | Sq.Ft.
b | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 50 |  | Sq.Ft.
| WORKSTATION AREA TOTAL Rs.- |  |  |  |  | 0
D] | COURT HALL
1 | GLASS PARTITION WITH DOOR | 310 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 150 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | MODULAR FALSE CEILING | 400 |  | Sq.Ft. |  | 0
Grid False Ceiling : Providing and errecting 2'0" X 2' 0" Suspended Grid Pre PC channel, fitted with trigular edge mineral wool of make Armstrong false ceiling tile.
4 | EXECUTIVE TABLE | 15 |  | Sq.Ft. |  | 0
Providing & fixing President Working Table made in 19mm MR ply with laminate,Glass Top having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing. Size :- 6'0"X2'6"X2'6"
5 | STAFF TABLE | 25 |  | Sq.Ft. |  | 0
Providing & fixing Staff table,made in 18mm MR Ply,12mm & 6mm ply, Glass with 1mm Veneer finish Laminate for outer side and 0.8 mm for inner side having drawers & cupboards with all necessary fitting and fixtures etc. Size: 5'0"x2'6"x2'6"x2 nos
6 | ADVOCATE TABLE | 36 |  | Sq.Ft. |  | 0
Providing & fixing Advocate table,made in 18mm MR Ply,12mm & 6mm ply, Glass with 1mm Veneer finish Laminate for outer side and 0.8 mm for inner side having dividers with all necessary fitting and fixtures etc. Size: 12'0"x3'0"x2'6"
7 | FILE COMPACTOR | 1 |  | LS |  | 0
Providing and Irrecting File Compactor (3 Bay mobile storage system),Single Faced Fixed unit - 1No, Double Faced Mobile unit - 2Nos, Single Faced Mobile unit - 1No, Rail Track etc complete. The compactor shall be moved by mechanical means using chain drive & Hand Wheel to ensure smooth movement. The entire mechanical gear and sprockets shall be incorporated with in the front panel provide in the front of the unit with in an area of 1000mm X 20mm X 50mm, the box type cover made of 20SWG CRCA prime quality steel. The base frame will be fabricated in channel type from 3mm Thk MS sheet a guide rail will be of 25mm round MS bright bar. shelves will be of 1mm CRCA quality steel having 8 folded. The system will be provided with centralised locking arrangements. All the items will be duely powder coated of approved colour. Room Size : 11'2"X13'7"
8 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | High Back Chair Rev & Til Chair with PU arm rest | 1 |  | No
b | Medium Back Rev & Til Chair with PU arm rest | 14 |  | No
c | Visitors Chairs With PU arm rest | 9 |  | No
9 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 2000 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 100 |  | Sq.Ft.. |  | 0
10 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 192 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 12 |  | Sq.Ft.
c | WRITING BOARD :- Providing, Supply & Fixing of ceramic steel writing board mountd with ply backing, alround framing with Powder coated aluminium profile. The back mounted with GI Sheet. The board mounted with wall fixing bracket. | 0 |  | Sq.Ft.
d | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 125 |  | Sq.Ft.
| COURT HALL TOTAL Rs.- |  |  |  |  | 0
C] | EXECUTIVE CABIN
1 | GLASS PARTITION WITH DOOR | 105 |  | Sqft. |  | 0
12mm Toughned Glass Fixed Partition: Providing , Fabricating & Fixing 12mm Toughned Glass Fixed Panel as per the Layout Plan & Design using Dorma/ Ozone Patche fittings with required cutouts in the glass, hardwares, etc. all the end joinary touching ceiling, floor and side wall / panelling are to be filled with clear sealant to a neat thickness line. The finishing & workmanship to be a high profile completion. 12mm Toughned Glass Door : Providing , Fabricating & Fixing 12mm Toughned Glass swing Door with Dorma / Ozone Hydraulic floor spring, Top Pivot, corner floor lock, 600mm ' H ' SS Handles with required cutouts / holes etc. The Fabrication and door setting required with high end smooth swing setting with uniform gap between the fixed glass and the Door Glass and also the Middle, Top & Bottom gap. colourless sealant were ever required for the floor spring etc to be finished neatley
2 | GYPSUM FALSE CEILING | 135 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
3 | EXECUTIVE TABLE | 10 |  | Sq.Ft. |  | 0
Providing & fixing President Working Table made in 19mm BWP ply with laminate,Veneer finish & Glass Top having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing. Size :- 5'0"X2'0"X2'6"
4 | SIDE & BACK RUNNER | 20 |  | Sq.Ft. |  | 0
Providing & fixing side runner made in 19mm BWP ply with laminate finish having drawers & cupboards with all necessary fitting and fixtures etc. complete as per drawing Size :- 8'0"X1'3"X2'6"
5 | WALL PANELLING | 100 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish.
6 | CHAIRS AND SOFA |  |  |  |  | 0
Providing & supply of high quality Rev. & Tilt. executive chair with Powder coated MS Structure with 12mm bend ply, moulded rubber foam for seat and back, upholstred with high quality fabric, with ABS back. The chair is mounted on five prong Powder coated aluminium cast base with Rev & Til mechanism, fitted with gas lift and Rev caster wheels . The chair is fitted with PU arm rest. ( Basic rate of the fabric Rs. 400 / mtr )
a | Medium Back Rev & Til Chair with PU arm rest | 1 |  | No
b | Visitors Chairs With PU arm rest | 4 |  | No
10 | PAINTING & POLISHING WORK |  |  |  |  | 0
a | INTERIOR PAINTING Providing & applying two or finish coat of luster paint on wall with fine putty finish which includes two or three coats of primer also etc. finishing cleaning site etc. complete | 400 |  | Sq.Ft.. |  | 0
b | MELAMINE POLISHING Providing & applying two of Melamine (Catalysed Clear Laquer) with desired shade by sanding ,Staining as per standrd surface preparation and Finishing cleaning site etc. complete | 0 |  | Sq.Ft.. |  | 0
8 | FURNISHING ITEMS |  |  |  |  | 0
a | FROST FILM :- Providing & Fixing of Glass Frost Film either pre printed or computer cut film as required on the entrance, cabin, Partiton Glasses & Door View Glass without any air bubbles. | 45 |  | Sq.Ft.
b | PINUP BOARD:- Providing & Fixing of soft Pinup Board with fabric cover without air bubbles, alround frame with powder coated aluminium profile, back support with ply / GI sheet. The board mounted with wall fixing bracket. | 12 |  | Sq.Ft.
c | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 3 |  | Sq.Ft.
| EXECUTIVE CABIN TOTAL Rs.- |  |  |  |  | 0
F] | GUEST ROOMS
1 | GYPSUM FALSE CEILING | 420 |  | Sq.Ft. |  | 0
Providing and fixing Gypsum False Ceiling as per India Gypsum Specifications made of standard G.I. Sections and 12mm thick gyp board sheets inclusive of all hangers, edge members and other clips complete, with sheets fixed with proper Philip screws by power drills and joints duly finished ensuring level in line and plumb to take final paint. All inclusive of making sloped profiles as detailed, drops and cut-outs for light fixtures, AC grilles etc.
2 | WALL PANELLING | 300 |  | Sqft. |  | 0
Providing and fixing Panelling for columns & wall as per the approved design & pattern using 12mm MR ply on the required sal wood reepar for the frame work with allignment fitted with with 1.00mm laminate of the approved shade & design using Fevicl SH Adhesive with complete joinary & finishing.
3 | SINGLE BED WITH HEAD BOARD | 6 |  | No |  | 0
Fab, Providing & supply of Single Cot made out of 18mm MR Ply,12mm & 6mm ply, and 1.00mm laminate with Double thickness for the frame work with required cross reinforcement support. The top fitted with 12mm ply with 0.8mm Laminate finish. Head rest mounted to the wall with 18mm ply double thickness, alround moulded beeding finish. The Bed is provided with 5" Coir / Foam Mattress. Size 6'6" X 3'0" X 18"
4 | BED SIDE TABLE | 10 |  | Sqft. |  | 0
Providing & fixing Bed side table made in 18mm MR Ply,12mm & 6mm ply, with laminate finish having drawers with all necessary fitting and fixtures etc. complete as per drawing Size 2'0" X 1'6" X 1'3" x 4 nos
5 | TV UNIT | 60 |  | Sqft. |  | 0
Providing and fixing TV Unit as per the approved design & pattern using 18mm MR Ply,12mm & 6mm ply with 1.00mm laminate of the approved shade & design using Fevicol SH Adhesive with complete joinary & some part cover with Texture Paint / Wallpaper ect.complete finish. Size 4'0" X 5'0" X 3 nos
6 | WARDROBE | 42 |  | Sqft. |  | 0
Providing & fix full ht Wardrobe as per the plan using 18mm MR Ply,12mm & 6mm ply, 1.00 laminate, auto hinged openable shutters with lock & fittings all the inner surfaces with 0.8mm laminate, exposed edges with 2mm PVC Beeding. without Mirror. Exposed edges with 2mm PVC Beeding. Size 7'0" X 2'0" X 2'0"x 3 nos
7 | PAINTING WORK | 0 |  | Sqft. |  | 0
Interior Painting : The Painting scope under the building contractor, the Interior Contractor who gets the job as to co - ordinate with the building contractor
8 | FURNISHING ITEMS |  |  |  |  | 0
a | WINDOW ROLLER BLINDS : Providing, Supply & Fixing of Roller Blinds with raise & fall mechanism using approved shade & Design of roller blinds fabric of semi translucent. | 115 |  | Sq.Ft.
b | ENTRANCE FOOT MATT :- Providing, Supply & Laying of Vinyl Foot Matt at the glass door entrance . | 18 |  | Sq.Ft.
c | BATH MATT :- Providing, Supply & Laying of cotton foot matt for the Toilet Entrance Doors. | 9 |  | Sq.Ft.
d | FRAMES & PLANTERS:- Providing & supplying Picture Frames & Decorative plants as per Architects approval on site. | 9 |  | No
| GUEST ROOMS TOTAL Rs.- |  |  |  |  | 0
| FIRST FLOOR TOTAL Rs.- |  |  |  |  | 0

## Ele BOQ
BOQ FOR THE ELECTRICAL,NETWORKING,CCTV,SMOKE DETECTOR WORK
Sr.No. | Description | Qty. | Unit | Rate | Amount
in Rs.
POINT WIRING IN SEMICONCEALED MANNER
1 | Point wiring for light / fan / bell Concealed type in min 20 mm PVC conduit with 1.5 sq.mm. FRLF grade copper wire with modular type switch and required accessaries (light pt -153 Nos., fan pt -45 Nos.,Ex Fan-13Nos, bell point - 3 Nos.) (upto 7.5 mtr) | 214 | Nos.
2 | Secondary point wiring for additional light/ bell point, concealed type in min 20 mm PVC conduit with 1.5 sq.mm. (2+1E) FRLF/FRLSH grade copper wires with required accessories. | 102 | Nos.
3 | Supplying & erecting modular type electronic step regulator two module ISI mark approved make duly erected with plate and box and wiring connections complete. | 45 | Nos.
4 | Supplying & erecting 'B' grade G. I. pipe/M. S. pipe down rod duly painted for fan complete erected with PVC two core flexible cable 24/0.2 mm copper PVC wire. | 45 | Mtr.
5 | Point wiring for Plug on board with switch socket conconcealed type and copper wiring, earthing and modular accessories (6 Amp. socket + 6 Amp. Switch) | 43 | Nos.
6 | Point wiring for separate plug point work with 2x1.5 sq.mm. FRLF PVC copper wire & 1.5 sq.mm. PVC copper wire as running earth etc. complete.in suitable size PVC conduit. ( Sep.plug-10 nos. Wall Fan- 4 Nos.) | 14 | No.
7 | Providing & erecting 2 Nos. 6 A Plug socket & 2 Nos. 6 A switch with plate and box(6 Module), interconnection with seprately provided 2 x 1.5 sq.mm + 1 x 1.5 sq.mm wire. | 39 | Nos.
8 | Supplying & fixing of 6/16 Amp. Power Plug point work complete with modular 16 Amp. Switch and Socket, with provided 2x2.5 sq.mm PVC FRLF copper wire & 1.5 sq.mm earth wire etc. complete with modular front plate and metal box. (5mtr) | 9 | Nos.
9 | Supplying and erecting 16/20/25A. Starter (Moduler Type range) 2 Modul for AC unit on provided box complete and duly concealed with necessary material and connected. | 11 | Nos.
10 | Supplying and erecting unbreakable concealed type modular switch box with double mounting plate for 2 module duly erected flush to wall with required chiselling and finishing with cement morter / POPas per required to match the background in an approved manner. (for AC-2nos.) | 11 | Nos.
11 | Supplying & erecting modular type Computer Jack RJ 45 with safety shutter ISI mark approved make duly erected on seprately provided plate and box with wiring connections complete | 39 | Nos.
12 | Supplying & laying UTP networking Cat-6 cable suitable for LAN Computer net-working with suitable size pipe/casing | 800 | Mtr.
13 | Supplying & fixing of RJ-11 Telephone socket & interconnection with provided 2 pair unarmoured telephone cable complete with modular front plate and concealed metal box. | 23 | Nos.
14 | Supplying & drawing of ITD approved 2 pair unarmoured telephone cable with suitable size PVC casing-caping or concealed in PVC pipe.(For a Phone points) | 350 | Rmt.
15 | …….same as above but 5 pair unarmoured telephone cable with suitable size PVC casing-caping or concealed in PVC pipe | 20 | Rmt.
16 | …….same as above but 10 pair unarmoured telephone cable with suitable size PVC casing-caping or concealed in PVC pipe | 20 | Rmt.
17 | …….same as above but 20 pair unarmoured telephone cable with suitable size PVC casing-caping or concealed in PVC pipe | 10 | Rmt.
18 | Supplying & fixing of crone connector type 5 pair strip boxes of telephones junction box (MDF) of suitable size with padlock arrangement. The MDF shall be made out of the sheet steel / Fiber sheet enclosure etc. complete for ( Base ment Floor). | 1 | No.
19 | Supplying & fixing of crone connector type 10 pair strip boxes of telephones junction box (MDF) of suitable size with padlock arrangement. The MDF shall be made out of the sheet steel / Fiber sheet enclosure etc. complete. ( For First Fl) | 1 | No.
20 | Supplying & fixing of crone connector type 20 pair strip boxes of telephones junction box (MDF) of suitable size with padlock arrangement. The MDF shall be made out of the sheet steel / Fiber sheet enclosure etc. complete. ( For Ground Fl) | 1 | No.
21 | Supplying and erecting ISI mark modular type T.V. socket single outlet, duly erected on provided plate and box with wiring connections complete | 4 | No.
22 | Supplying & installing Co - axial low voltage grade RG-11 cable complete. With required size PVC pipe. Etc. | 65 | Mtr.
23 | Supplying ,erecting Recess Mounted Circular speakers. | 15 | Nos.
24 | Supplying and laying twin flat 23/36 Copper flexible wire in 20 mm PVC pipe for speaker wiring from Speaker to amplifier. | 100 | Mtr.
25 | Supplying & erecting 4 way ETPN DB similar to Legrand Cat. No. 507670 with 32 Amp.,4 pole MCB as incomer, 6- 32 Amp SP MCB 12 Nos. as outgoing with necessary hardware in surface /concealed manner etc. complete. ( Basement LDB, GF LDB, FF ACDB, FF UPSDB-1 no each. ) | 4 | No.
26 | Supplying & erecting 4 way ETPN DB similar to Legrand Cat. No. 507670 with 63 Amp.,4 pole MCB as incomer, 6- 32 Amp SP MCB 12 Nos. as outgoing with necessary hardware in surface /concealed manner etc. complete.( Basement ACDB-1 no. ) | 1 | No.
27 | Supplying & erecting 6 way ETPN DB similar to Legrand Cat. No. 507671 with 32 Amp.,4 pole RCBO as incomer, 6- 32 Amp SP MCB 18 Nos. as outgoing with necessary hardware in surface /concealed manner etc. complete. ( FF LDB, 1 no.) | 1 | No.
28 | Supplying & erecting 8 way ETPN DB similar to Legrand Cat. No. 507672 with 32 Amp.,4 pole RCBO as incomer, 6- 32 Amp SP MCB 18 Nos. as outgoing with necessary hardware in surface /concealed manner etc. complete. (GF UPSDB, 1 no.) | 1 | No.
29 | Supplying & erecting 4 way VTPN DB similar to Legrand Cat. No. XXXXXX with 63 Amp.,4 pole MCB as incomer, 6- 32 Amp TP MCB 4 Nos. as outgoing with necessary hardware in surface /concealed manner etc. complete. (MAIN UPSDB @ BASEMENT, 1 no.) | 1 | No.
30 | Supplying & erecting 12 way SPN DB similar to Legrand Cat. No. 50XXX with 32 Amp.,4 pole RCBO as incomer, 6- 32 Amp SP MCB 8 Nos. as outgoing with necessary hardware in surface /concealed manner etc. complete. (GF ACDB, 1 no.) | 1 | No.
31 | MAIN DISTRIBUTION PANEL
| Incomer :- | 1 | No.
160A FP MCCB with S/C , E/F, U/V, O/L release
250 A, 4 pole Copper busbar
Outgoing :-
63 A TP MCCB - 2 Nos.
32 A TP MCCB - 11 Nos.
32 A FP MCCB - 1 No.
16A DP MCCB -1No.
25 A TP MCCB - 2 Nos.
8 stage APFC Relay-1no.Along with 3 Phase CT's
Capacitor banks (Total 41 KVAr) -10KVAr-1No.,7.5 KVAr-2 Nos., 5 KVAr-2 Nos., 2.5 KVAr- 2 Nos, 1 KVAr- 1 No (All capacitor feeders should be with 7% detuned reactors and all capacitors shall be 525 Volts.)
32 | Providing & laying 25 mm dia. 10 kg/ sq.cm. PVC conduits in opened manner. | 250 | Rmt.
33 | Providing & laying 32 mm dia. 10 kg/ sq.cm. PVC conduits in opened manner. | 25 | Rmt.
WIRES & CABLES :-
34 | Supplying & drawing of following 1100 V grade, PVC, FR Copper conductor wire in seprately provided PVC casing-caping or in concealed conduit with earth wire as directed.
b) | 2 x 1.5 sqmm PVC Copper FR conductor wire | 75 | Rmt.
c) | 2 x 1.5 sqmm + 1x1.5 sq.mm as running earth. | 250 | Rmt.
d) | 2 x 2.5 sqmm + 1x1.5 sq.mm as running earth | 140 | Rmt.
e) | 2 x 4 sqmm + 1x2.5 sq.mm as running earth.(if required) | 10 | Rmt.
f) | 4 x 2.5 sqmm + 1x 1.5 sq.mm as running earth | 35 | Rmt.
g) | 4 x 4 sqmm + 1x2.5 sq.mm as running earth. (If required ) | 10 | Rmt.
h) | 4 x 6 sqmm + 1x2.5 sq.mm as running earth. | 75 | Rmt.
35 | Supplying & erecting PVC armoured cable 1100 V. grade with ISI mark multi stranded Aluminium / Copper Cable with 6mm thick suitable wide M.S. spacers & G.I. Saddles screwed with continues 8 SWG G.I. Earth wire complete laid in ground in provided trench/ pipe / cable tray in an approved manner or on wall whatsoever.
a) | 2C x 2.5 sq.mm 2XWY cable. (For lift lighting) | 50 | Rmt.
b) | 3C x 2.5 sq.mm 2XWY cable. (For Pumps. Approx.) | 40 | Rmt.
c) | 4C x 6 sq.mm 2XWY cable. ( Lift.) | 25 | Rmt.
d) | 3.5C x 50 sq.mm A2XFY cable.(Main Incoming Cable) Approx. | 30 | Rmt.
36 | Providing end-termination for above cables with Siemens type cable gland & lugs with crimping method etc. as per cable size
a) | 2C x 2.5 sq.mm 2XWY cable. | 6 | Sets
b) | 3C x 2.5 sq.mm 2XWY cable. (For Pumps-2nos.,. ) | 4 | Sets
c) | 4C x 6 sq.mm 2XWY cable. | 2 | Sets
d) | 3.5C x 50 sq.mm A2XFY cable. | 2 | Sets
FITTINGS & FIXTURES :-
37 | Supplying & Fixing of following fittings and fixtures with necessary lamp.
a) | 20 watt LED box type fitting surface mounted (4') AL body | 9 | Nos.
b) | 3 Watt LED Skirting Night Lamp | 3 | Nos.
c) | 6 watt Recess Mounted Circular LED fitting | 3 | Nos.
d) | 9 watt Recessed Mounted Circular LED fitting | 11 | Nos.
e) | 9 watt Recessed Mounted Square LED fitting | 30 | Nos.
f) | 9 watt Mirror light LED Fitting on basin | 10 | Nos.
g) | 11 watt Recessed Mounted squareLED fitting | 23 | Nos.
h) | 12 watt Recessed Mounted Circular LED fitting | 15 | Nos.
i) | 12 watt Recessed Mounted squareLED fitting | 20 | Nos.
j) | 15 watt Recessed Mounted Circular LED fitting | 27 | Nos.
k) | 15 watt Recessed Mounted squareLED fitting | 40 | Nos.
l) | 18 watt Recessed Mounted squareLED fitting | 28 | Nos.
m) | 24 watt Recessed Mounted squareLED fitting | 16 | Nos.
n) | 8/11 W LED Integral Lamp.(wall point - 19 Nos,) | 19 | Nos.
38 | Supplying & Fixing of Ceiling / Exhaust / Wall Fan :-
a) | 1200 mm dia. Sweep ceiling fan. (BLDC energy saving) | 35 | Nos.
b) | 1400 mm dia. Sweep ceiling fan. (BLDC energy saving) | 10 | Nos.
c) | 225 mm dia. heavy duty exhaust fan with suitable size of plywood, required hardware & 2C flat wire. | 13 | Nos.
d ) | Providing & fixing Anchor fastner with fan hook | 45 | Nos.
e) | 450 mm Wall Fan | 4 | Nos.
39 | a) Providing & fixing Bell / buzzer. | 3 | Nos.
| b) Providing & Fixing Siren | 1 | Nos.
CCTV :-
40 | Providing and Installing Hik Vision Indoor type camera-3.6mm HD dome type (1Megapixel) (IP base) | 14 | Nos.
41 | Providing and installing 2TB,720P 24 port HD NVR | 1 | No.
42 | Providing and installing 2TB WD Purple Hard disk for Recording and backup upto 72hrs. | 1 | Nos.
43 | Providing and installing Monitor with HDMI port | 1 | Nos.
44 | Providing 10A Power Supply | 1 | Nos.
45 | Supplying and erecting 1+3 Coaxial cable for interconnecting all cameras along with conduit. | 450 | Mtr.
46 | Supplying & erecting XLPE Armoured cable 2 core 1.5 sq.mm Copper complete erected on wall /ceiling.(For Smoke Detector) | 200 | Mtr.
47 | Supplying, erecting & testing Smoke detector complete. | 32 | Nos.
EARTHING :-
48 | Ashlok / Safe Electrode type earthing specially made like pipe in pipe technology electrode filled with conductive & anti corrosive crystalline compound, galvanized 100 micron to 250 micron Dia. 80mm, Length 3 Meters with 2 Bags of conductive, anti corrosive, hygeoscopic, non soluble Back Fill Compound (BFC) 25 kg. each, with a test link & suitable size chamber with plastering etc. complete.(Meter- 1 no..) | 2 | Nos.
49 | Providing and Fixing 8 SWG copper Wire on parapet or surface of wall as required for Horizontal as well as vertical runs. (For earthing) | 35 | Mtrs.
63 KVA Substation if required.
50 | Supplying and erecting extendable / non-extendable indoor type 11 kV, 630A, load break switch with fuses of required rating on provided MS channels / trench / foundations. | 1 | No
51 | Supplying, installing, testing & commissioning 3 phase, 11/0.433 kV, 50 Hz., 63 kVA, oil immersed and naturally cooled outdoor type, copper wound transformer, delta/star connected with additional neutral brought out on load side, temperature rise should not exceed 40oC by thermometer in oil and 45oC by the resistance in winding at full load rating, with HV tapping (with off load tap changer) off load +5 to -10 in steps of 2.5%, with standard accessories complete with test certificate with losses below 340 Watts at 50% load, 1140 Watts at 100% load as per IS:1180 - 2014 energy efficiency level II with necessary permissions of Electrical Inspector. | 1 | No
52 | Supplying & laying HT XLPE armoured cable for 11 KV with ISI mark 3 core 95 sq.mm stranded aluminum wire erected on pole with 25 x 3 MS clamp / provided trench / laid in a provided pipe in an approved manner. | 25 | Mtr
53 | Providing & erecting heat shrinkable outdoor termination kit for 11 KV (E) XLPE HT cable 3 X 95 sq.mm with necessary material | 1 | No
54 | Providing & erecting heat shrinkable indoor termination kit for 11 KV (E) XLPE HT cable 3 X 95 sq.mm with necessary material | 1 | No
55 | 300x300x3.15mm Copper plate type earthing for Substation & other equipments with 2 bags of back filling compound and GI pipe for watering etc. complete. | 11 | No.
56 | Supplying & installing 63 KVA Generator Set for the entire load to cater whenever KSEB fails with AMF panel etc complete. | 1 | No.
57 | Supplying, installing, testing and commissioning of 2 Zones Microprocessor based conventional fire alarm control panel (FACP) with standard accessories complete | 1 | No.
Note:- 1. Increase overall rate by 10 % for additional zone as per requirement.
Total Amount in Rs.
Say

## HVAC Summery
BOQ FOR HVAC WORK
COST SUMMARY
Sr. No. | DESCRIPTION | HIGHSIDE | LOWSIDE | TOTAL COST
1 | VRV System - Basement Floor
2 | VRV System - Ground Floor
3 | VRV System - First Floor
Total for Project with GST

## VRV Basement
VRV System - Basement Floor
SCHEDULE OF VRV EQUIPMENT |  |  |  | Date:
Sr. No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | SUPPLY OF VARIABLE REFRIGERANT AIR CONDITIONERS
1.1 | OUTDOOR UNITS
1.1.0 | Normal - 3 Phase
| 14 HP | 1 | Nos
| DGT for ODUs | 1 | Nos
1.2 | INDOOR UNITS - with cordless remote and all refnet joints.
1.2.1 | Ceiling Suspended Round Flow Cassette Unit
| 1.0 TR | 1 | Nos
| 1.65 TR | 1 | Nos
| 2.64 TR | 4 | Nos
2 | Independent Inverter Cassette Unit - Standby for Server Room
| 1.5 TR | 1 | Nos
| TOTAL -BASIC PRICE EXCLUDING TAXES |  |  |  | 0
GST
TOTAL WITH TAXES
PART : Supply, Installation, Testing and Commissioning of VRV system
SR. | DESCRIPTION | QTY. | UNIT | UNIT RATE | TOTAL AMOUNT
1 | Standard Installation, Testing & Commissioning Charges
For VRV Outdoor Units
| Installation of VRV ODUs | 1 | Nos
| Testing & Commissioning of VRV Equipment including Charging of Gas & Oil etc. | 1 | Nos
| Pressure testing & flushing with Nitrogen | 1 | Nos
2 | INDOOR UNITS- VRV
| Cassette Unit | 7 | Nos
3 | Refrigerant piping
a | Refrigerant piping for VRV Units copper tubes/piping,with necessary connections with insulation. | 50 | Rmt.
b | Refrigerant piping for Independent Cassette Units | 15 | Rmt.
4 | Drain Water Piping P.V.C with nitrile insulation complete with fittings.
| suitable size as per number of units connected | 55 | Rmt.
5 | Control Cabling
| Control cabling with saddles / supports to connect outdoor units with respective indoor units. | 120 | Rmt.
| Main cabling between socket to machine cabling for respective indoor units. |  | Rmt.
6 | Stand for ODU for Independent Unit | 1 | Nos.
Sub total
VRV INSTALLATION
VRV INSTALLATION COST WITH TAXES

## VRV ground
VRV System - Ground Floor
SCHEDULE OF VRV EQUIPMENT |  |  |  | Date:
Sr. No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | SUPPLY OF VARIABLE REFRIGERANT AIR CONDITIONERS
1.1 | OUTDOOR UNITS
1.1.0 | Normal - 3 Phase
| 18 HP | 1 | Nos
| DGT for ODUs | 1 | Nos
1.2 | INDOOR UNITS - with cordless remote and all refnet joints.
1.2.1 | Ceiling Suspended Round Flow Cassette Unit
| 1.33 TR | 1 | Nos
| 2.1 TR | 2 | Nos
| 2.64 TR | 2 | Nos
| 3.3 TR | 1 | Nos
1.2.2 | Wall Mounting Units
| 0.8 TR | 1 | Nos
| 1.33 TR | 2 | Nos
TOTAL - BASIC PRICE EXCLUDING TAXES
GST
TOTAL WITH TAXES
PART : Supply, Installation, Testing and Commissioning of VRV system
SR. | DESCRIPTION | QTY. | UNIT | UNIT RATE | TOTAL AMOUNT
1 | Standard Installation, Testing & Commissioning Charges
For VRV Outdoor Units
| Installation of VRV ODUs | 1 | Nos
| Testing & Commissioning of VRV Equipment including Charging of Gas & Oil etc. | 1 | Nos
| Pressure testing & flushing with Nitrogen | 1 | Nos
2 | INDOOR UNITS- VRV
| Cassette Unit | 6 | Nos
| Wall Mounting Unit | 3 | Nos
3 | Refrigerant piping
a | Refrigerant piping for VRV Units copper tubes/piping,with necessary connections with insulation. | 75 | Rmt.
4 | Drain Water Piping P.V.C with nitrile insulation complete with fittings.
| suitable size as per number of units connected | 40 | Rmt.
5 | Control Cabling
| Control cabling with saddles / supports to connect outdoor units with respective indoor units. | 150 | Rmt.
| Main cabling between socket to machine cabling for respective indoor units. |  | Rmt.
Sub total
VRV INSTALLATION
VRV INSTALLATION COST WITH TAXES

## VRV First
VRV System - First Floor
SCHEDULE OF VRV EQUIPMENT |  |  |  | Date:
Sr. No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | SUPPLY OF VARIABLE REFRIGERANT AIR CONDITIONERS
1.1 | OUTDOOR UNITS
1.1.0 | Normal - 3 Phase
| 18 HP | 1 | Nos
| DGT for ODUs | 1 | Nos
1.2 | INDOOR UNITS - with cordless remote and all refnet joints.
1.2.1 | Ceiling Suspended Round Flow Cassette Unit
| 1.0 TR | 1 | Nos
| 1.65 TR | 2 | Nos
| 2.1 TR | 2 | Nos
| 2.64 TR | 1 | Nos
1.2.2 | Wall Mounting Units
| 1.0 TR | 3 | Nos
| 1.33 TR | 3 | Nos
TOTAL - BASIC PRICE EXCLUDING TAXES
GST
TOTAL WITH TAXES
PART : Supply, Installation, Testing and Commissioning of VRV system
SR. | DESCRIPTION | QTY. | UNIT | UNIT RATE | TOTAL AMOUNT
1 | Standard Installation, Testing & Commissioning Charges
For VRV Outdoor Units
| Installation of VRV ODUs | 1 | Nos
| Testing & Commissioning of VRV Equipment including Charging of Gas & Oil etc. | 1 | Nos
| Pressure testing & flushing with Nitrogen | 1 | Nos
2 | INDOOR UNITS- VRV
| Cassette Unit | 6 | Nos
| Wall Mounting Unit | 6 | Nos
3 | Refrigerant piping
a | Refrigerant piping for VRV Units copper tubes/piping,with necessary connections with insulation. | 85 | Rmt.
4 | Drain Water Piping P.V.C with nitrile insulation complete with fittings.
| suitable size as per number of units connected | 50 | Rmt.
5 | Control Cabling
| Control cabling with saddles / supports to connect outdoor units with respective indoor units. | 170 | Rmt.
| Main cabling between socket to machine cabling for respective indoor units. |  | Rmt.
| Sub total |  |  |  | 0
VRV INSTALLATION
VRV INSTALLATION COST WITH TAXES

## AV Boq
BOQ FOR AUDIO,VEDIO WORK
Sl. No | Sl. No | Part Reference |  |  | Qty. (nos) | Rate | Amount
|  | MAKE | MODEL | DESCRIPTION
Training Rm.-Video Solution | 1 | Newline | I85 | 85"4K UHD Interactive flat panel, Aspect Ratio 16:9,Resolution - 3840 × 2160 Pixels,Brightness 370nits,Contrast Ratio : 4000:1,Viewing Angle : 178° | 1
| 2 | Newline - OPS | OPS-621 | Core i5 8GB Ram 128GB SSD with Win - 10Pro | 1
| 3 | Logic | LGF-98 | Heavy Duty wall mount bracket | 1
| 4 | Reputed | Standard | 10Mtrs HDMI Cable | 3
| 5 | Reputed | Standard | 10Mtrs USB Cable | 2
| 6 | Reputed | Standard | Power Cable - 10Mtrs | 1
| 7 | Logic | Standard | Cable cubby - 1Power,1Lan port, 1HDMI port,1USB port. | 1
| 8 | Ezcast | Ezcast -Pro 2 | Wireless presentation system | 1
Training Rm.-Audio Solution | 9 | JBL | Control 25AV | Wall mounted Speakers - | 4
| 10 | AKG | AKG Perception Wireless 45 | AKG Perception Wireless 45 Presenter Set BD A Wireless Microphone System | 1
| 11 | AKG | AKG Perception Wireless 45 | AKG Perception Wireless 45 Vocal Set BD A Wireless Microphone System | 2
| 12 | AKG | GN30M | Gooseneck Mic | 1
| 13 | Crown | NCDI2X600BL | 1x600W Power Amplifier with BLU link (IN) | 1
| 14 | Soundcraft | Notepad-2 | Soundcraft Notepad-12FX Small-format Analog Mixing Console with USB I/O | 1
| 15 | Reputed | Standard | Cables & Connectors | 1
| 16 | Installation | Commissioning | Installation, Commissioning & Testing | 1
BOARD ROOM VC Solution | 1 | Newline | I85 | 85"4K UHD Interactive flat panel, Aspect Ratio 16:9,Resolution - 3840 × 2160 Pixels,Brightness 370nits,Contrast Ratio : 4000:1,Viewing Angle : 178°, | 1
| 2 | Newline - OPS | OPS-621 | Core i5 8GB Ram 128GB SSD with Win - 10Pro | 1
| 3 | Logic | LGF-98 | Heavy Duty wall mount bracket | 1
| 4 | Reputed | Standard | 10Mtrs HDMI Cable | 2
| 5 | Reputed | Standard | 20Mtrs HDMI Cable | 2
| 6 | Reputed | Standard | 10Mtrs USB Cable | 2
| 7 | Reputed | Standard | Cable cubby - 1Power,1Lan port, 1HDMI port,1USB port. | 3
| 8 | Reputed | Standard | Faceplate with 1HDMI port,1USB port. | 1
| 9 | Reputed | Standard | USB 3.0 HUB | 1
| 10 | Ezcast | Ezcast PRO 2 | Wireless presentation system | 1
| 11 | Logitech | Logitech Rally plus | 15X Video conferencing system | 1
| 12 | Logitech | Logitech Rally plus | Expension Microphone | 5
| 13 |  |  | Installation & commissioning | 1
TOTAL AMOUNT INCLUDING GST