	Material Specification & Make

	
	
	

	Slno
	Particulars
	Make

	
	
	

	I
	Interior & Furnishing
	

	
	
	

	1
	MR Grade Ply / Block Board
	Century ply, Wood Ply, Mayur Ply, Frontier Ply or Equivalent

	2
	MDF Board
	Mangalam, Asis or Equivalent

	3
	Laminate
	Merino, Century, Green, Silicon

	4
	Aluminium
	Jindal, India Aluminium

	5
	Falseceling
	Armstrong, Techno, IGL

	6
	Glass
	Saintgobain, Asis, Modi

	7
	Paint
	Asian, ICI, Berger paints

	8
	Wood
	Seasoned Teakwood, White Salwood

	9
	Sanitary
	Hindware, Parry, ESS ESS fittings, Supereme Pipes

	
	
	

	II
	Electrical
	

	
	
	

	1
	LT/HT Cables
	Universal, Havels, Gemscab

	2
	Cable glands
	Commet

	3
	Cable Lugs
	Dowell

	4
	MCB/MCB Distribution
	Legrand, Siemens, Havells

	5
	Light Fittings
	Wipro, Havells, Phillips

	6
	Exhaust Fans/ Fans
	Crompton Greaves, Usha, Havells

	7
	PVC Wires-1100V Grade(FRLS)
	Anchor, Finolex

	8
	PVC Conduits & Accessories
	Universal, VIP National

	9
	Switches/Scokets
	Anchor, Roma ,Tresa

	10
	Speakers
	Bosch, Ahuja

	
	
	

	III
	Networking
	

	
	
	

	1
	Cable
	Cat-6 Dlink, Amp

	2
	Switches & IO's
	Cat-6 Dlink, Amp


